## Controller Schedule
Controller ID | Name | Vendor | Model | Firmware | Type | Protocols | Panel Location | Electrical Panel | Circuit | Serves Equipment | Equipment Count | Owned Points | Points - Sensor | UI Capacity | DI Capacity | AO Capacity | DO Capacity | Total Capacity | Utilization % | Status
MPC-1 | Main Plant Controller 1 | Johnson Controls | MPC-8000 | 12.3 | MPC | BACnet/IP | Mechanical Room | MP-1 | 12 | AHU-1, CHWP-1 | 1 | 1 | 1 | 16 | 8 | 4 | 8 | 36 | 11.1 | design

## Network Addresses
Controller | Protocol | Address | Network #
MPC-1 | BACnet/IP | 192.168.1.10